## Slide 1
SENSOR & INSTRUMENTATION KOE 044 Unit 1

## Slide 2
Contents:
Measurement System
Introduction & Definition of Sensor & Transducer
Selection & Classification of Sensors
Measurement of Displacement Using Potentiometer
LVDT
Optical Encoder,
Measurement of Force Using Strain Gauge
Measurement of Pressure Using LVDT based Diaphragm
Measurement of Pressure Using Piezoelectric Sensor

## Slide 3
Measurement of Displacement Using Potentiometer

## Slide 4
Measurement of Displacement Using Potentiometer

## Slide 5
Measurement of Displacement Using Potentiometer

## Slide 6
Measurement of Displacement Using Potentiometer

## Slide 7
Measurement of Displacement Using Potentiometer

## Slide 8
Measurement of Displacement Using Potentiometer
Important Performance Parameters
Potentiometer resolution
Potentiometer linearity

## Slide 9
Measurement of Displacement Using Potentiometer
Problem Statement

## Slide 10
Measurement of Displacement Using Potentiometer
Solution

## Slide 11
Measurement of Displacement Using Potentiometer
Problem Statement

## Slide 12
Measurement of Displacement Using Potentiometer
Solution

## Slide 13
Advantages of Potentiometer
They are Inexpensive
Simple to operate
Useful for the measurement of Large amplitude of displacement
Output is sufficient, therefore no amplifier is needed
Have high resolution

## Slide 14
Disadvantages of Potentiometer
Require large force to move their sliding contact
Contact can be contaminated.
Wear and tear problems, after prolong use
Number of slides are limited.

## Slide 15: Application
Audio Control
TV Brightness Control
Motion Control of a motor (angle, speed and displacement)

## Slide 16
Material Used
Wire Wound Potentiometers
  Platinum, Nickel chromium, nickel copper
    Temp Coefficient:20 x 10^-6/degree cent.
    Resolution:0.025 to 0.05 mm
Non-Wire Potentiometers(Continuous Potentiometer)
  Cement, Hot moulded carbon, carbon film, thin metal film